## Slide 1: HVMT1 Process
OUTPUT Relay01 ON OR OFF Relay02 ON OR OFF Relay03 ON OR OFF Relay04 ON OR OFF Can Send(interval :? ) Turbin1 Status(Ready OR Stop)
Turbin1 Output Voltage Turbin1 Output Current Turbin2 Status(Ready OR Stop) Turbin2 Output Voltage Turbin2 Output Current
INPUT
Can Receive(interval : ?, protocal : ?) Key Status HVB Voltage

## Slide 2
N
Key Off OR ACC
Wind Turbin1 Process
396V < HVB Voltage < 541V
0A <= Turbin1Output Current < 18A
SWBD-RY01 ON SWBD-RY02 ON Turbin1Status : Ready
SWBD-RY01 OFF SWBD-RY02 OFF Turbin1Status : Stop
Y
Y
Y
N
N

## Slide 3
N
Key Off OR ACC
Wind Turbin2 Process
396V < HVB Voltage < 541V
0A <= Turbin2Output Current < 18A
SWBD-RY03 ON SWBD-RY04 ON Turbin2Status : Ready
SWBD-RY03 OFF SWBD-RY04 OFF Turbin2Status : Stop
Y
Y
Y
N
N

## Slide 4: HVMT2 Process
OUTPUT Relay05 ON OR OFF Relay06 ON OR OFF Can Send(interval :? ) Solar Status(Ready OR Stop)
Solar Output Voltage Solar Output Current Micro Grid Feeder Voltage Isolation Register(IMU-01)
INPUT
Can Receive(interval : ?, protocal : ?) Key Status HVB Voltage IMU

## Slide 5
N
Solar Process
396V < HVB Voltage < 541V
0A <= Solar Output Current < 24A
SWBD-RY05 ON SWBD-RY06 ON Solar Status : Ready
SWBD-RY05 OFF SWBD-RY06 OFF Solar Status : Stop
Y
N

## Slide 6: HVMT3 Process
OUTPUT Relay05 ON OR OFF Relay06 ON OR OFF Can Send(interval :? ) Solar Status(Ready OR Stop)
Solar Output Voltage Solar Output Current Micro Grid Feeder Voltage Isolation Register(IMU-02)
INPUT
Can Receive(interval : ?, protocal : ?) Key Status HVB Voltage IMU

## Slide 7
N
WTS01 Status Ready?
Charge Process
WTS01 Status Ready?
0A <= Turbin2Output Current < 18A
SWBD-RY03 ON SWBD-RY04 ON Turbin2Status : Ready
SWBD-RY03 OFF SWBD-RY04 OFF Turbin2Status : Stop
Y
Y
Y
N
N